FOUNDATION INSPECTION

Date:
June 30, 2006

Type:
Residential

For:
Gerald Hammack

             504 Cross Gates Blvd

Slidell, La 70458

Construction: Wood frame, brick façade, concrete foundation, pull tab shingle roof

History:

Mr. Hammack requested Dammon Engineering to render an opinion on the fracture in his foundation located in the garage.  The fracture occurred after a asphalt steam roller, being used to repair the streets, was parked in his drive way in 1998.  Mr. Hammack stated that the fracture has not grown since it appeared in 1998.

Findings:

Upon inspection, it was noted that there was a small fracture visible in the concrete foundation in the garage.  Small amounts of concrete had chipped out and were loose in the fracture.  The fracture runs through the center of the garage.  It does not appear on the outside of the garage foundation.

Analysis:

This house has gone through many years of settlement.  The fractures in the garage are a direct result of this settlement and judging by the age of the fracture, it has existed for some time.

Conclusion:

It is my professional opinion that the foundation on the garage is structurally sound.  No treatment is required.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


