554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Inspection

May 23, 2016

Ovid Davis

1169 Clipper Drive

Slidell, La. 70458

Mr. Davis

We have inspected the property and have identified that the location of the future pool does not appear to impede the existing bulkhead.

Sincerely,

Brian Mistich, P.E.