554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

September 8, 2022

Anthony Ficarra

3201 Range Ct

Mandeville, La. 70448

Construction:

Single-story with bonus room over garage, wood frame, brick veneer, ceramic, wood flooring with a composition shingle roof on a conventional foundation.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and attic space of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to conduct a structural inspection of the referenced home to determine whether the island wall in the kitchen was load bearing.  The owner would like to have this wall removed completely.

Findings:

Upon inspection, it was noted that the wall in question is a load bearing wall.  It supports not only the ceiling over the kitchen but also portions of the roof.

Conclusion:

Since this wall is load bearing it cannot be easily removed.  If a portion of this wall was to be removed a header over the opening would need to be designed.

Sincerely,

Brian Mistich, P.E.

See attached pictures