554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

September 29, 2021

For: Mr. & Mrs. Pellerin

534 Evangeline Rd

Norco, La. 70068

Construction:

Two-story, wood frame, brick and vinyl veneer, carpet and ceramic flooring with an asphalt shingle roof on a conventional foundation.

Scope:

This inspection is limited to a visual inspection of the interior and exterior of the home; No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the rear porch brick columns and other areas of damage; the home was damaged during hurricane Ida on 08-29-2021,

Findings:

Upon inspection of the home, the high winds forced the roof decking off the roof rafters and allowed water to infiltrate the home.  At the time of this inspection, the interior of the home was gutted in the affected areas of roof damage.

The concern of brick columns in the rear of the home was noted to have lost some mortar at the top where the fascia sits on the column itself, the vinyl fascia was removed and no revealing damage was noted.  The home undoubtedly moved and shifted during the storm and caused the mortar to fall out during the high winds.

A few cracks in the foundation were noted in the garage and rear porch area also.

Conclusion:

It is important to note that all foundations settle.  Usually, everything settles together and the fastest rate of settlement occurs in the first year after construction.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, expansion & contraction, tree roots, improper drainage, etc.

Recommendation:

It is my opinion that the structural integrity of the home is currently sound and worthy to enclose.

Sincerely,

Brian Mistich, P.E.