554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

January 11, 2022

Christopher & Stephanie  Braun

28555 Miss Lou St.

Lacombe, La. 70445

Construction:

Two-story, wood frame, vinyl facade, composition shingle roof on a conventional foundation.

Scope:

This inspection is limited to a visual inspection of the exterior and interior of the home; No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the home due to high wind damage during hurricane Ida on 08-29-2021. This area suffered extensive high wind damage.  This home was without power for 9 days.

Findings:

Upon a visual inspection of the home, the exterior of the home was hit with high winds from the south causing racking of the home, most notable on the second floor interior of the home. The high winds caused some trees to topple over and pulled down the main power line going to the home.

Two of the exterior doors located on the ground floor are difficult to open and close. The interior of the home was noted to have sheetrock damage in the master bedroom closet near where the meter pan is located on the outside of the home.

The second floor area was noted to have sheetrock seams coming lose in the ceilings of the stairwell, hallway and two bedrooms and some water damage in one bedroom above the window that faces the South.

Conclusion:

Due to the force of the high winds it has racked the home slightly causing stucco damage as noted above and can be repaired.

Sincerely,

Brian Mistich, P.E.