DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

May 26, 2009

For: Mr. Paul Fisher

       114 Bienville Drive

       Slidell, La. 

Construction:

One story, wood frame with brick veneer and composition shingle roof.

Scope:

This inspection is limited to a visual inspection of the added interior beam of the residence. No Inspection of the mechanical or electrical systems was performed. This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys. This report is not an explanation of cause, effect, or engineering.

History:

Mr. Fisher contacted Dammon Engineering to request a structural inspection of the above listed residence. Mr. Fisher was concerned about a flinch beam installed on the inside of the home to support the existing loads of the attic floor. 

Findings:

A 2x4 load bearing wall was removed between the living room/breakfast room and replaced with a 12”x 19’ flinch Beam.

Conclusion:

It is my professional opinion that the new flinch beam is sufficient to support the existing loads that exist at the time of this report.

The majority of settling usually occurs in the first year after construction and gradual settlement then follows for about ten years, after which the structure should be relatively stable.  Settling may also be the result of the local weather conditions causing expansion or shrinkage of the soil.  The brick veneer and other concrete products expand and contract, causing cracks that are not necessarily structural problems.

This residence is structurally stable and will probably not show any major settling in the future.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

