Structural Inspection

March 18, 2008

Type:
Primary residence

Location:
604 Northwood Drive


For:
Cindy Restor/
Money Hill Subdivision



Prudential Gardner 

Abita Springs, LA



800 North Causeway #1








Mandeville, LA 70448







Phone:  985-626-8589
Re:
Structural verification

Structure:
Wood frame with brick and stucco exterior, composition roof shingles and concrete slab foundation.

History:
Agent Cindy Restor contacted Dammon Engineering to perform a structural inspection on the above listed property for the purpose of determining the structural integrity of this residence.  It has been determined that the house foundation is not level and is over 4 inches off from the highest point of the floor to the lowest.  This uneven foundation has raised question as to the structure being stable, not regarding the uneven floor.  The agent indicated that the builder has verified that he was aware that the slab was uneven when the house was constructed.

Findings:
We visually inspected the perimeter of the foundation and fond no cracks or separation around the structure.  Further, we inspected the brickwork for signs of separation or deterioration and found none.  The walls in all rooms were visibly inspected for cracks or separation and doors in all rooms checked for ease of closing and stability when left ajar.  All of these issues were normal.  In the attic we looked for any separation of rafters and or beams that would indicate failure and found none.  The compound angle cuts of the rafters fit properly with no sign of stress or separation.

Analysis:
Although the floor is uneven, we found no signs of structural defects that would indicate the failure of the foundation or framing system being the cause of this condition.  It appears that the foundation was probably framed and poured uneven, and the house completed by adjusting the framing to compensate for the variance.

Conclusion:
The uneven floor does not appear to be the result of foundation failure, and does not appear to affect the structure of the residence.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
