DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

October 6, 2006

STRUCTURAL CERTIFICATION

For:

Savoie & Luttrell

Subject:
Lauren Plaza Shopping Center

Location:
4006, 4020, 4042 Pontchartrain Dr.



Slidell, Louisiana 70458

Building Description: 120,000 s.f.

Commercial property constructed of CMU outer walls and brick veneer.  The building is divided in to four sections with fire-rated CMU walls and it has a wet pipe fire suppression system

The roof is an asphalt and gravel coated material, with some hurricane damage. 

To Whom It May Concern:

This letter is to certify that the commercial property described above, at the referenced address, is structurally sound and is capable of being restored from Hurricane Katrina damages.

Sincerely,

Emmett Dammon

La. License 8796

