  DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

HOME INSPECTION

Date:
March 28, 2007

April 23, 2007 (Corrected copy)

For:

Mr. James Hart

Property: 
160 West Pearl

Slidell, LA 70461
Type:
Residential

RE:
Contractor Fraud

Structure:
Wood frame on concrete foundation/brick and vinyl siding/composition roof

History:

Mr. Hart contacted Dammon Engineering to perform physical and electrical inspections of his home. The purpose of the inspections was to verify which unfinished work the contractor, Darcy Boatman Builders agreed to perform.

The initial purpose of hiring a contractor was to repair damage by Hurricane Katrina.  The contract was later expanded to include repairs to sections of the home damaged by an electrical fire that originated in an upstairs bedroom, but was unrelated to the hurricane.

Mr. Hart has retained attorney Bob Brandt to assist in resolving this dispute.  Fireman’s Fund insurance company has paid this claim and Mr. Hart is satisfied he received a reasonable settlement.  

Findings:
The following list, by room, indicates work and/or material that remain to be done to complete the restoration of this home.


Upstairs:

Right bedroom: 

New hardware missing from entrance door, two closet doors and door into the bathroom.

Two closet doors should be changed to louvered bi-fold doors. 

Texture and paint back room wall. 

Replace window on right wall. 

Install trim on front window. 

Install baseboard molding

Phone jacks (2) need receptacles and faceplates.

Joint bathroom:

Install new hardware on four doors in this area. 

Install trim on front window

Complete plumbing and electrical connections to hot water heater in closet. 

Complete assembly of overhead light fixture. 

Install bath cabinet counter top, sink and plumbing. 

Install mirror over sink.

Install light fixture over sink area 

Bath:  

Install commode. 

Wall tile and sheetrock around tub must be removed.

Incorrect tub should be removed.  

Install correct tub as requested by Mr. Hart.  

Green rock wallboard should be installed and properly sealed on wall around tub area. 

Install wall covering as requested by owner.

Install baseboard in areas where missing. 

Install hardware on doors (2)

Install trim as needed

Left bedroom:

Install trim on two windows.

Remove two closet doors

Install two bi-fold louvered doors as specified

Install new hardware on two doors

Install phone jack

Install cable jack

Replace hinges missing on three doors (One hinge on each of three doors)

Stairs

Stair rail near first floor level is unstable and should be secured

First floor

Master bedroom: 

Remove old windows and replace with new windows

Install window and door trim 

Install baseboard molding

Install hardware on two doors

Paint walls/ceiling

Master bathroom:

Install new hardware on door to storage room

Install doors on linen closet

Install counter with dual sinks

Install mirror over sinks

GFI circuit on left wall is faulty

GFI circuit on right wall is dead

No GFI located in hot tub area

Receptacle at hot tub is dead

No hot tub on premises (owner stated that there was one there sometime in the past)

Install GFI circuit

Install hot tub

Install plumbing for hot tub

Install wall cover around hot tub as selected by owner

Paint bathroom walls

Install wall cover in shower as selected by owner

Install shower fixtures

Install flooring grout as selected

Install commode

Install overhead light cover

Install baseboard molding

Complete phone jack installation

Remove old window and replace with new window

Foyer:

Install correct trim on exterior door

Remove incorrect front door and replace with new door as selected by Mr. Hart

Install new hardware on closet door 

Install baseboard

Powder Room:

Install countertop sink in base

Install plumbing fixtures

Install commode

Install mirror

Study:

Install new hardware on door to study

Install trim on window

Install trim on doors 

Complete receptacles 

Install phone jacks

Install cable connections

Repair ceiling fan (missing blades, broken glass)

Install AC ceiling vents (2)

Remove chair rail that is installed up side down and install correctly

Remove old window and replace with new window

Laundry room:

Install new hardware on pantry door

Install new hardware on kitchen entrance door

Remove old window and replace with new window

Kitchen:

Remove and reinstall overhead pot rack/light in correct position aligned with island counter top

Install cabinets correctly. Several cabinets must be removed and reset.  Others are to be installed.

Install counter top

Install kitchen sink, plumbing, fixtures and disposal

Install trash compactor

Install electric cook top

Install cook top vent

Install oven

Install microwave

Install window trim

Install refrigerator

Install door trim

Install baseboard molding

Breakfast area:

Remove exterior kitchen entrance door and replace with new door

Remove old windows and replace with new windows

Install wall trim

Install window trim

Install door trim

Install receptacle covers

Install phone jacks

Install cable connections

Install baseboard molding

Den:

Remove old windows and replace with new windows

Remove old doors and replace with new doors

Install new door hardware

Outside storage room:

Install hot water heater

Install new door hardware  

Exterior

Left front dormer:

There is an apparent paint spill on the shingles in front of dormer.  Remove old shingles and replace with new shingles.  Will require 8-10 shingles.

Replace two receptacles on rear of house

Replace/repair receptacle on bayou shore area

Analysis: 

Work throughout the house is in various stages of completion.  No one area has been completed.  Painting, wallpaper, trim, and/or tile remain to be done throughout the property.  Carpet is to be installed in several areas as selected by the owner.  The contract specifically lists each of these items in the redcap section by square feet and cost.  Mr. Hart stated that the agreement requires that all windows and doors on the first floor be replaced with new doors and windows, and that flooring be installed in the attic.  All doors in the home should be inspected for possible damage and replaced as needed.
Conclusion:

When our list of incomplete work prepared by Dammon Engineering is compared with the CONTRACT FOR BUILDERS SERVICES by DARCY BOATMAN BUILDERS it appears that the majority of unfinished work as itemized in this contract is the responsibility of Darcy.

Additional Notes:

Many of the line items listed in the contract remain incomplete or are not started.  Although time consuming, it would be wise to compare our itemized list against the contractors list to separate out the actual, and/or partially completed items agreed to.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


