                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                DAMMON ENGINEERING, INC.

dammonengineering.com


nCONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

2/07/07

STRUCTURAL CERTIFICATION

For:
Lynn Curling

Location:
6613 Alisa Dr.



Slidell, La 70460

To Whom It May Concern:

Building Description:  wood frame, concrete sauna tubes on concrete foundation, pull tab shingle roof and tar flat roof, vinyl siding.

Scope: 

This inspection is limited to a visual inskl m, pection of the interior and exterior stud walls, ceilings, floors, roof and foundation. No inspection of the mechanical or electrical systems was performed.

History:

Mrs. Curling contacted Dammon Engineering to perform a structural inspection on the referenced residential property. The building is under construction. The roof framing is in question.

Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the home.

1. The roof framing is not supported correctly, the roof load is on the ceiling rafters and not on load bearing wall. The ceiling rafters are 2X12X18, 16” OC. 

2. The first floor living area is sagging along the west outer wall.

3. The front porch floor rafters are framed on the inside of the sona tubes.

4. Stairs to the second floor living area do not meet the 2003 International Residential Code.

5. Walls added to the ground floor do not meet the requirements of  the FEMA building code. 

Analysis:

1. Repair to the roof supports should be completed by adding a 2x8x16 to the vertical roof supports on the west side of the home. 

2. The west wall of the first floor living area in the kitchen should be raised and made level across the wall.

3. A build out of the front porch even with the sonna tubes will be required to prevent water accumulating under the joist.

4. The stairs should be cut to the proper riser elevation per the 2003 International Residential Code.
5. Walls on the ground floor are required to be framed in such a way that they will blowout in the event of a wall of water may hit them.
Conclusion:

I certify the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796
