DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

March 28, 2008

Kevin Johnson

St Tammany Parish

21490 Koop Drive

Mandeville, LA  70471

RE:
Permit No. K07-2348 / K07-2349

Platform Crance

               Slidell,La

Dear Mr. Johnson

We have revised the electrical riser diagram please see the stamped dwg for the revisions. The glazed opening notes are stated on the cover sheet under detailed building requirements. Also please see the attached subsoil investigation report that was prepared on that property.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

