DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

August 13, 2009

Mr. Vic Corso

Corso Fabricators, Inc.

538 J F Smith Ave.

Slidell, LA  70460

RE:
O’Brien Flooring


589 JF Smith Ave.


Slidell, LA  70460

Mr. Corso,

Attached please find a copy of the letter Dammon Engineering, Inc. received from Mr. O’Brien regarding the above referenced project.  We have communicated with Mr. O’Brien regarding concerns he has with the quality of construction of his facility.  Please be aware that it is our opinion that the problems cited in Mr. O’Brien’s letter stem largely from construction/installation errors. 

Mr. O’Brien has informed us that the roofers have blamed the leaking roof on design flaws.  The plans we provided call out for a 4 on 12 pitch over the office area and a 2 on 12 pitch over the warehouse.  The minimum allowed is ¼ on 12; therefore, our design is well within the limits allowed.  Mr. O’Brien further states that “28 tubes of caulking” were used to stop the roof leaks.  To the best of our knowledge and belief the building manufacturer never allows caulking for repairing leaks, as it will void the warranty.  Furthermore, if the ridge cap is leaking, it was not installed correctly.  Please have the installer contact the building manufacturer for proper installation/repair methods.

In Mr. O'Brien's letter Item #2 refers to exterior office doors.  As you are no doubt aware, all doors are required to have a 5’x5’ level landing per ADA/code.  All exterior doors must also be installed properly for weathering conditions, to include specified threshold set in a bed of mastic.  Please have the installer verify that the thresholds and weather stripping have been installed properly.

The five office-to-warehouse doors Mr. O’Brien mentions in Item #3 are 1 hour rated doors and nothing should be passing through them.  Properly installed fire rated doors are to be installed according to the manufacturer's specifications in order to maintain its fire rating.  They each must be repaired/replaced as necessary to achieve proper seals.

Please provide Mr. O'Brien a copy of the drawings stamped by the St. Tammany Parish permitting office when the permit was issued.

Please arrange a meeting between the sub-contractor, Mr. O'Brien, Dammon Engineering, yourself, and the appropriate discipline manufacturer if needed, as soon as possible in keeping with Mr. O’Brien’s warranty.  

Sincerely,

Emmett G. Dammon

cc:
Mr. Michael O’Brien/O’Brien Flooring, Inc.

