STATE OF LOUISIANA
Department of Public Safety and Corrections
Office of State Fire Marshal Code Enforcement and Building Safety
8181 Independence Boulevard
Baton Rouge, Louisiana 70806
225-925-4920

H “BUTCH” BROWNING
FIRE MARSHAL

AMENDED LETTER

ROBERT WILTSE
DAMMON ENGINEERING INC
554 OLD SPANISH TRAIL
SLIDELL, LA  70458-0000	RE:  P0423682
FLOOR WORKS & BLINDS
1860 SHORTCUT ROAD
SLIDELL, LA  70447

NFPA 101, 2009 
IBC, 2009 (CHAPTERS 9 & 10)

MERCANTILE CLASS C
STORAGE
	
Dear Applicant:

This is to advise that the previous review letter dated 11/01/2012 for this project is hereby amended as follows:

______________________________________________________________________________________

NOTE:  THE FOLLOWING COMMENTS IDENTIFY ISSUES FOR INFORMATIONAL AND CAUTIONARY PURPOSES OR ISSUES THAT COULD NOT BE VERIFIED IN THE SUBMITTED DOCUMENTS.

______________________________________________________________________________________

NOTE:  THE FOLLOWING COMMENTS IDENTIFY ISSUES FOR INFORMATIONAL AND CAUTIONARY PURPOSES OR ISSUES THAT COULD NOT BE VERIFIED IN THE SUBMITTED DOCUMENTS.

1.	Our review of drawings and/or specifications for the subject project dated November 11, 2012 is amended as follows:
	a)  Disregard the two-hour rated wall between the warehouse and showroom.  THE WALL HAS BEEN CHANGED TO A ONE-HOUR WALL, LISTED AS GA FILE NO. WP 1072 GENERIC, APPEARS TO COMPLY. 
	
2.	NOTE: The rest of the original review letter for this project shall remain applicable.  Please enclose a copy of this letter with future submittals or other correspondence pertaining to this project. 

This review applies to the work indicated on the drawings or specifications.

This review shall in no way permit or authorize any omissions or deviations from the specific requirements of the adopted codes, rules and regulations in accordance with R.S. 40:1574.1(B).

The above amended review is valid if construction starts within 180 days from the above date of the original review letter.

Occupancy of the project will not be permitted until we receive the completed certificate and a satisfactory inspection of the completed construction has been made by this office.

To arrange for inspection of the project, please contact the District Office at the phone number below, two (2) to three (3) weeks in advance. Approved plans must be available on job site at time of inspection. Certificate of completion must be provided to inspecting Deputy for final inspection.

REVIEWED BY:
DAVID JONES
ARCHITECT

NOTE:	Please call the REVIEWER identified above if you have any questions regarding this review.  
Do not call the Inspection Office until you are ready for inspection. 

CC:
Floor Works & Blinds
Division Of Permits & Inspections (Stam)*
New Orleans District Ofc*     5045688506