DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

October 20, 2009 

City of New Orleans

Department of Safety and Permits

1300 Perdido Street / Room 7E06

New Orleans, LA  70112

Attn:
Anouar Ait Idir

Re: 
Permit No. 09COM-01078



Address: 1401 St. Denis Street



Nature of Work: Swimming Pool

Dear Mr. Ait Idir:

The following information answers your questions regarding the above plans that were submitted for permitting:

Architectural:

1. After speaking with the state Fire Marshal’s office, they do not and have never required approval on a    swimming pool.
2. Board of Health letter of approval was submitted with original permit documents.
3. Stair Riser Heights – Title 51, Public Health Sanitary Code, Section 327, Pool Stairs – Risers shall have a maximum height of 12 inches, with the bottom riser height allowed to vary plus or minus 2 inches from the uniform riser heights.  See detail 2, PL1.0 for step configuration to Title 51, Public Health Sanitary Code.
Electrical:
1. All electrical wiring is in conformance with the NEC.
2. Electrical wiring does not exceed $15,000.
3. An electrical estimate was submitted with the original permit documents that have been issued.
Mechanical:
1. Barriers – Title 51, Public Health Sanitary Code, Section 705, Barriers – Pool fence meets code as per detail 3, PL1.0.
2. Commercial swimming pool code does not require an alarm system prevention device.
3. The swimming pool is designed per the Virginia-Grahm Baker Act as per December 2009.
4. All electrical and plumbing meet Title 51, Public Health Sanitary Code and NSPI code.  There are no heating and cooling systems for the swimming pool.
If you have any questions regarding the above comments, please feel free to contact me.
Sincerely,

Emmett G. Dammon

