## Gypsum Board
Subcontractor's Scope of Work
14074 - Springs at Fremaux Town Center
Gyspum Board
Contact:
Phone:
Email/Fax:
Item | Description | Company Name | Company Name | Company Name
Please indicate 'Yes', 'No', 'N/A', or 'See Adjustment' in the appropriate blank.
1 | What is the date of the proposal?
2 | Proposal is per the construction drawings dated - 07/07/2014?
3 | Proposal is per the project specifications dated - xx/xx/xx? | N/A | N/A | N/A
4 | Include the correct number of units - 296?
5 | Include the correct number of Building Type B20 - 10?
6 | Include the correct number of Building Type G24 - 4?
7 | Include the Clubhouse?
8 | Include the correct number of Garage Type 6G - 1?
9 | Include the correct number of Garage Type 12G - 1?
10 | Include the correct number of mail kiosks - 1? | N/A | N/A | N/A
11 | Include the correct number of maintenance buildings - 1?
12 | Include the correct number of trash enclosures - 1? | N/A | N/A | N/A
13 | Include the correct number of recycle enclosures - 1? | N/A | N/A | N/A
14 | Include shop drawings and/or submittals as required?
15 | Include mockup?
16 | Include all necessary material, labor, and equipment?
17 | Include layout for your scope of work?
18 | Include daily cleanup for your scope of work (dumpsters provided by GC)?
19 | Include all necessary equipment such as pumps, lifts, cranes, scaffolding, etc. for your scope of work?
20 | Include Davis Bacon wages and certified payroll (required for HUD projects)? | N/A | N/A | N/A
21 | Are currently licensed in state where project occurs?
22 | Have you included a $3 million combined general liability and excess liability insurance policy (each occurrence plus excess liability)?
23 | Include sales tax at specified rate - 8.75%?
24 | Material prices are good through the duration of the project without escalation? Start date is 10/02/2014
25 | Has your company completed a Doster prequalification form within the last 6 months?
26 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 01, issued 7/23/2014 on the Isqft website ?
27 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 02, issued 7/25/2014 on the Isqft website ?
28 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 03, issued 7/28/2014 on the Isqft website ?
29 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 04, issued 7/29/2014 on the Isqft website ?
30 | Have you received and reviewed all RFI responses and addenda issued in Doster Addendum 05, issued 7/30/2014 on the Isqft website ?
31 | What is your bond rate?
Units
1 | Provide and install drywall as indicated per the Parition Schedule and floorplans? Refer to G0.30 for partition schedule.
2 | Include 1-hr interior ceilings below attic as specified? Refer to A3.13
3 | Include 1-hr interior floor assembly for all areas not located above garages as specified? Refer to A3.13
4 | Include 1-hour UL # U305 separation between garages and tentant units? Refer to Note 10 Sheets A1.A.11 & A2.B.11
5 | Include 1-hour wall design UL # U341 & floor/ceiling design UL # L528 separation between tenant apartment units? Refer to Note 10 Sheets A1.A.11 & A2.B.11
6 | Include 1-hour exterior wall design UL # U356 at apartment units? Refer to Note 10 Sheets A1.A.11 & A2.B.11
7 | Include 1-layer 5/8" Type 'X' gypsum board at all exterior wall locations? Refer to A3.13
8 | Include 1-layer 5/8" Type 'X' gypsum board at each side of interior walls separating garage spaces.
Include providing and installing acess panels as specified and where indicated on apartment roofing plans? Refer to sheets A1.A.13 & A1.B.13
9 | Include resilient channel at 12" o.c. for unit ceilings on Level 2? Refer to A3.13 & 14/A5.27
10 | Include resilient channel at 16" o.c. for unit ceilings on Level 1? Refer to A3.12 & 14/A5.27
11 | Include GWB at either side of counter overhangs in Studio units only?
12 | Include 5/8" Type 'X' GWB behind dryer exhaust? Refer to detail 6/A5.27
13 | Include 2-layers of 5/8" Type 'X' GWB beneath interior unit stairs? Refer to details 2 & 3/A5.28
14 | Include 5/8" Type 'X' GWB over 1/2" resilient chanels @ 24" o.c. for 1-side of unit stair walls to extend to the top of the 42" walls at Level 2 units? Refer to detail 5/A5.28 and Wall Type P1, Sheet G0.30
15 | Include 90" high wall with wood cap at Studio Units S1 & SO? Refer to A4.S1 & A4.SO
16 | Include 9'-0" ceilings throughout apartment units to include Level 1 Garages, Bathrooms, Laundry and Mechanical Closets?
17 | Include 5/8" Type 'X' GWB walls and ceilings at Fire Sprinkler Rooms for each apartment building? Refer to detail 25/A3.12
18 | Include moisture-resistant type gypsum board behind and around tub surrounds and on ceiling above tub/shower? Refer to Note 1 Sheet G0.30
19 | Include prerock for tubs?
20 | Include prerock for furrdowns?
21 | Include the wall finish as specified - heavy knockdown textured?
22 | Include the ceiling finish as specified - knockdown?
23 | Include five-sided boxes for electrical outlets?
24 | Include stocking the building?
25 | Include ceiling expansion joints where indicated?
26 | Include wall expansion joints where indicated?
27 | Provide sealant at top and bottom of wall assemblies (fire rated where required)?
Amenity Buildings
1 | Include the application of 5/8" gypsum board to all interior ceilings?
2 | Include variable ceilings heights at 10', 12', 14', & 27' where indicated? Refer to A1.C.11
3 | Include soffits and dropped ceilings where indicated? Refer to A1.C.11
4 | Include the application of 5/8" gypsum board to all interior load bearing/non-load bearing walls?
5 | Include providing and installing 22" x 36" attic access panel as specified? Refer to Plan Note 22, Sheet A1.C.11
6 | Include providing and installing 12"h x 138"w access panel @ signage locations in Clubhouse "Tower" - 2 each? Refer to detail 2/A2.C.3
7 | Include the wall finish throughout (except Yoga & Fitness Rooms) as specified - heavy knockdown textured? A6.02
8 | Include the wall finish in Yoga & Fitness Room as specified - smooth?
9 | Include the ceiling finish as specified - smooth?
10 | Include stocking the building?
Maintenance Building
1 | Include 5/8" Type 'X' GWB at the ceiling and all interior walls? Refer to RFI-006.
2 | Include 5/8" moisture resistant GWB at the toilet room side on the interior walls and ceiling? Refert to RFI-006
3 | Include the wall and ceiling finish as specified - smooth?
Bid Form Breakout
1 | Clubhouse
2 | Building Type B20 (Total for Buildings 1, 3, 4, 7, 8, 10, 11, 12, 13, 14)
3 | Building Type G24 (Total for Buildings 2, 5, 6, 9)
4 | Maintenance Building, Carwash, Trash/Recycle Enclosure, Mail Kiosk
5 | 6-Bay Garage (Building 16)
6 | 12-Bay Garage (Building 17)
7 | Site
| Base Bid | 0 | 0 | 0
Item | Adjustments
1
2
3
| Revised Bid | 0 | 0 | 0
Alternates
1 | Provide sealant at top and bottom of wall assemblies
2 | Provide sealant at GWB terminations into interior window assemblies
3
1 | Yes
2 | No
3 | N/A
4 | See Adjustment