[image: image1.jpg]


554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com
[image: image2.png]



January 11, 2016
March 16, 2018
Ms. Jie Gu P.E.,
Region IX Engineer
OPH 
RE:
Terra Bella Class C Swimming Pool

Covington, Louisiana 
Ms. Gu,

In response to your review letter dated February 28, 2018 regarding the subject pool plans, the following is provided:

1.  Please submit applicable pages of this office’s “Engineering Services Permit Application.”
   Response: See attached form.
2.  Please specify the water and sewer system’s name which the pool will be connected with in drawings. 
   Response: See attached form from item number 1.       

3.  Please provide details for the proposed pedestal water feature.
   Response: See revised detail on PL-2.1, attached. 

4.  Please specify the chemicals that will be used for disinfection and the targeted chlorine residual which will be maintained in the pool. Also please specify the means of PH control for the proposed pool.

   Response: See revised sheet G-1.1 & Hayward automated pH Controller cut sheet, attached.
5.  Please provide the total deck area.
   Response: See revised comment Pool Design Data on sheet G-1.1.
If you have any questions, or require additional information, please feel free to call.

Sincerely,

[image: image3.jpg]‘,\u\umm,





David Dammon
Dammon Engineering, Inc.

   3/16/2018
