### State of Louisiana

Department of Health and Hospitals

Office of Public Health

Swimming Pool Project Application

| SWIMMING POOL PROJECT |  |  |
| --- | --- | --- |
| Terra Bella Pool |  |  |
| Terra Bella Community | St. Tammany Parish |  |
| Public Pool Class1: Class A (competition) □ Class B (Public Recreation) XX Class C (semi/public use for lodgings) □ Class D (all other public uses) |  |  |
| Estimated Project Cost: $600,000 |  |  |
| In what type of facility will the pool be located (i.e. hotel, condominium, etc.)? Condominium |  |  |
| Public Water System (Source of Water): Parish |  | Is this an approved water source: X Yes □ No |
| Wastewater Disposed Into (Sewer System): Parish |  |  |
| Type of Disinfection at Swimming Pool: Chlorine □ Cyanuric Acid □ Bromine X □ Other: _Hypochlorite Solution |  |  |
| Type of Disinfection at Public Water System (Source Water): : X Chlorine □ Chloramines |  |  |

| PROJECT OWNER INFORMATION |  |  |  |
| --- | --- | --- | --- |
| Terrra Bella Group LLC |  |  |  |
| 100 TerraBella Boulevard, Covington, LA 70433 |  |  |  |
| (985) 871-7171 |  |  |  |

| DESIGN ENGINEER INFORMATION |  |  |  |
| --- | --- | --- | --- |
| David Dammon / Brian Mistich |  |  |  |
| Dammon Engineering |  |  |  |
| 554 Old Spanish Trail | Slidell |  | LA 70458 |
| info@dammomengineering |  |  |  |

| POOL DIMENSIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Main Pool Shape: Rectangle |  |  |  |  |  |
|  |  |  | Area (ft2): 2,237 |  | Perimeter (l.f.): 230 L.F. |
| Volume (ft3): 8883 ft3 |  |  | Volume (gallons): 66,455 Gallons |  |  |
| Swimming Pool Depth |  | Minimum Depth (ft): |  | Maximum Depth (ft): |  |
| Pool Turnover (hours): |  |  |  |  |  |

| POOL CONSTRUCTION MATERIALS |  |
| --- | --- |
| Material: Concrete | Material Color: White |
| Impervious: X Yes □ No | Smooth Surface: X Yes □ No |

| POOL DECK |  |
| --- | --- |
| Pool Deck Area (ft2): 5,783.9 s.f. | Deck Material: Concrete |
| Minimum Tread Depth (in): n/a | Minimum Deck Width (ft): 4ft |
| Deck Drains to: X Perimeter Area Deck Drains |  |

Swimming Pool Specifications

Project Description:	Terra Bella Pool

MAXIMUM USER LOAD CALCULATIONS

Maximum Users in Shallow, Instruction, or Wading Areas (persons): n/a

Maximum Users in Deep Area, not including Diving Areas (persons): n/a

Maximum Users in Diving Area, per each diving board (persons): n/a

Total Maximum User Load (persons): 111

| CIRCULATION SYSTEMS |  |  |
| --- | --- | --- |
| Recirculating Pump: | TDH (ft): 40.6 | Maximum Pump Capacity (GPM): 79 |
| Backwash Pump: | TDH (ft): 5 | Maximum Pump Capacity (GPM): 79 |
| Maximum Water Velocity for: Discharge Piping (ft/sec): 8.1 Suction Piping (ft/sec): 5.2 |  |  |
| Number of Inlets: 10 |  |  |
| Number of Outlets/Drains: 11 |  |  |

POOL APPURTENANCES

Diving Board (if none, write n/a): n/a

Diving Equipment (if none, write n/a): n/a

Recessed Treads (if none, write n/a): n/a

Surface Skimmer System: X Automatic Surface Skimmer □ Perimeter-Type □ Overflow Gutter

Heaters (if none, write n/a): n/a

Lighting (if none, write n/a): Pool deck estimated at 5784 s.f. x 2 watts/s.f. = 11,568 watts; 11568 watts x 20 lamp lumens/ watt = 231,360 lumens

Ventilation (for indoor pools) (if none, write n/a): n/a

Lifesaving Equipment: Yes

Security/Barriers: Yes, fence

Sunning or Tanning Shelves (if none, write n/a): Tanning Shelf

Underwater Seat Bench (if none, write n/a): Yes