March 29, 2007

St. Tammany Parish

21490 Koop Drive

Mandeville, LA  70471

Re:
Tad Mondale

Hwy 433 lot C4

To Whom It May Concern:
The drawings for this site reflects a porch in the rear of the home using pilings under the concrete footings and 8x8 posts supporting the rear porch.
The owner would like to substitute and install six class five 30’ pilings at each of these locations.  The owner would also like to use two 4” galvanized square tubings in place of the two new CMU columns located in the right rear of the home as noted in the plans.

Dammon Engineering approves these changes.  If you have any questions, or require any additional information, please feel free to call.

Sincerely,

Chuck Dammon  

