DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

554 Old Spanish Trail



 



     985-649-5832

Slidell, LA 70458



 


            FAX 985-641-5950

June 21, 2012
HMGP
Attn: Hazard Mitigation Grant Program
  RH: 06HH148221

RE: Burleigh Price
       680 Carollo Street

    Slidell, La. 

Dammon Engineering evaluated the home of Mr. Price and has concluded that the cost reasonable measure with this specific project would be to perform a two story conversation due to the method that the house was constructed throughout the years. 
A second story conversion is the best alternative compared to a traditional elevation for this specific project. This is a necessity over a traditional elevation and is not feasible for this specific project. A second story conversion is the safest way to construct this specific project due to structural concerns of the home.
This home was added on in three different areas throughout the years, carport converted into two bedrooms and laundry, rear patio converted into a dining area with new foundation, walls and roof. These foundations and roofs additions that are found in this specific residence were of concern when the design was started. 

Please feel free to call me with any questions or concerns you may have.

Emmett G. Dammon
Dammon Engineering, Inc.

