554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

August 2, 2018

Tommy Cousin

Acme Housing Raising

1715 Claiborne St

Mandeville, La. 70448

Ref: Teachout Residence

1716 Claiborne Street

Mandeville la 70448

Each column shall have one Simpson Strong tie HD3B with 5/8”x18” anchor bolt.

Sincerely,

Chuck Dammon

Dammon Engineering LLC.