| Energy Code Compliance Summary IECC 2021 CLIMATE ZONE 2A FOR ORLEANS PARISH |  |  |  |
| --- | --- | --- | --- |
| COMPLIANCE METHOD | CHECK |  |  |
| PRESCRIPTIVE |  |  |  |
| RESCHECK (HTTP://WWW.ENERGYCODES.GOV/RESCHECK) |  | X |  |
| COMCHECK (HTTP://WWW.ENERGYCODES.GOV/COMCHECK) |  |  |  |
| BUILDING AREA | VALUE |  |  |
| TOTAL AREA (SQ FT) OF CONDITIONED SPACE |  | 900 |  |
| INSULATION VALUES (R402) | ENTER R VALUE |  |  |
| CEILNG/ROOF |  | 30 |  |
| WALLS |  | 13 |  |
| BASEMENT | N/A |  |  |
| FLOOR |  | 13 |  |
| SLAB |  | N/A |  |
| CRAWLSPACE | N/A |  |  |
| HEATING EQUIPMENT | EFFICIENCY (BTU'S/RATING) |  |  |
| ELECTRIC |  | 15K |  |
| GAS |  | N/A |  |
| COOLING EQUIPMENT | EFFICIENCY (BTU/SEER) |  |  |
|  |  | 5 ton |  |
| FENESTRATION U VALUE | U-VALUE |  |  |
|  |  | 19 |  |
| FENESTRATION SHGC | SHGC |  |  |
|  |  | 0.51 |  |
| SKYLIGHT U VALUE | U-VALUE |  |  |
|  |  | 0.39 |  |