May 10, 2004

Ms. Monica Martin

Aegis Innovative Solutions, LLC

10560 Airline Hwy

Baton Rouge, La. 70816

RE:
Ruby Kurz

3046 N Palm Drive

Slidell, Louisiana

Dear Ms. Martin,

Per your letter dated May 7, 2004.

The existing concrete slab consisted of two levels, the house having been added to in the past.  We found it necessary to elevate the footing so that it was level with the highest section of existing floor.  (This allowed us to install a new ledge for the stucco wall.)  The interior floor was raised to meet the new level, tying the old floor to the new outer wall.

Also, if the new concrete was not brought up to the same level as the old main house slab, this would create a surface that would hold water, which could not be allowed.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

