May 3, 2004

Aegis Innovative Solutions, LLC

10560 Airline Hwy

Baton Rouge, La. 70816

RE:
Ruby Kurz

3046 N Palm Drive

Slidell, La.

Dear Mrs. Martin,

The question was asked why we are using concrete pilings instead of spread footings to support the second floor.  The second floor will be constructed over the entire house, most of which is pile supported.

The existing conditions at this site are rare.  The original house has pilings under it, at a later date the subject area was added in the rear of the home.  When this addition was added, it was for a patio and not supported with pilings, then over time it was converted into living space.

Working with these conditions and the PSI report, it was determined that pilings are the best suitable option for this design, in an attempt to avoid differential settlement between the old and new areas.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

