Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

October 24, 2006

Mr. James Waite

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA 70806

RE:  
P0315362


Mt Olive Feeding Ministry

Dear Mr. Waite,

With regard to the above referenced project, the hood system drawings will be submitted by others.  I have revised the Mechanical drawing to include “typical hood and duct installation w/clearance reduction materials to protect combustibles”.  This additional detail is attached.

If you have any questions, please feel free to call.

Sincerely,

David Dammon

Project Manager

