Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

December 19, 2006

Mr. Gene Bates



Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA 70806

RE:  
IBC Review P0319133


Wings Pizza N Things


550 Gause Blvd.


Slidell, LA 70458

Dear Mr. Bates,

With regard to the above referenced project, the following information is provided:

The suite was inadvertently listed as “Suite A”.  Please be advised that Wings Pizza N Things will occupy “Suite 1”.

II Fire Protection Systems:

1) Fire Resistant Materials and Construction

No information was provided about rating of demising walls.  Please see the attached revised floor plan showing the demising wall is to be a 2 hour rated wall.  The detail page A200 shows this wall using the UL 411 design and 2 hour rated.

VII Plumbing Systems: 

1) According to Table 407 the proposed facility requires a minimum of two water closets for each Men’s and Women’s restrooms.
Please see the revised floor plan showing 3 water closets in each restroom.
2) No indication of a minimum of one drinking fountain.  This facility is a restaurant and will offer free water to patrons.

If you have any questions, please feel free to call.

Sincerely,

David Dammon

Project Manager

