[image: image1.png]SINA Y

b\ ~
Y

5
-
%



DEPARTMENT OF PUBLIC SAFETY AND CORRECTIONS

[image: image2.png]



[image: image3.png]SINA Y

b\ ~
Y

5
-
%



Public Safety Services


December 7, 2006







P0319133


To: Dean Borne, Administrator

      City of Slidell

      1330 Bayou Lane, Suite 106

      Slidell, LA 70458

 

Re: 
Wings Pizza N Things



 550 Gause Blvd.

Slidell, LA 70458

POR: 
Edward Gremillion, PE, CE  

This review is for renovations to an existing tenant space. 

I Building Planning: Reviewed per the 2000 International Building Code.

1) Occupancy/Use Group Classification

The occupancy is a Group A-2 Assembly in accordance with Sections 303. There is no apparent change in occupancy.

2) Building Limitations/Construction Type

The scope of work appears to comply with the requirements of Section 3402.
3) Special Occupancy Areas

None noted in the submittal.

II Fire Protection Systems: Reviewed per the 2000 International Building Code.

1) Fire Resistant Materials and Construction

No information was provided about rating of demising walls.  There are no modifications to existing building elements indicated.

2) Interior Finishes

Appears to comply.

3) Fire Protection Systems

None noted in the submittal.

III Occupants: Reviewed per the 2000 International Building Code.

1) Means of Egress

Appears to comply.

2) Accessibility

Review of compliance for these features was performed by the State Fire Marshal under review P0319133.

December 7, 2006







P0319133


IV Structural: Reviewed per the 2000 International Building Code. 

No structural modifications to the existing building are proposed
V Electrical Systems: Reviewed per the 1999 National Electrical Code, NFPA 70

Modifications to the existing electrical system appear to comply.

VI Mechanical Systems: Reviewed per the 2000 International Mechanical Code. 

Modifications to the existing mechanical installations appear to comply.

VII Plumbing Systems: Reviewed per 2000 Louisiana State Plumbing Code

1) According to Table 407 the proposed facility requires a minimum of two water closets each for Men's and Women's restrooms.  The proposed only has one for each Men's and Women's restrooms.

2) No indication of a minimum of one drinking fountain.

Louisiana State Fire Marshal’s office reviewed this project for the requirements of the Louisiana State Uniform Construction Code. 

This review is performed at the request of the City of Slidell, La..

This review shall not constitute or be construed as a warranty or guarantee by the Office of the State Fire Marshal as to durability or fitness, or as a warranty or guarantee by the Office of the State Fire Marshal that this building, or any material, equipment, method or type of construction used therein is or will be free from defects, will perform in a particular manner, is fit for a particular purpose, or will last in any particular way..

This review shall in no way permit and/or authorize any omissions or deviations of specific requirements of the adopted codes, rules and regulations in accordance with R.S. 40:1728.

This office will not be responsible for field inspections to assure workmanship that is in accordance with this review. 

December 7, 2006







P0319133


Review fee:

Occupancy: A-2

Square Footage: 3.960

Fee: $120.00

Reviewed by:

Gene M. Bates   

Architect

Office of the State Fire Marshal

PAGE  
1
"Is Yours Working"??

Smoke Detectors Save Lives!!

OFFICE OF STATE FIRE MARSHAL, CODE ENFORCEMENT, AND BUILDING SAFETY

8181 INDEPENDENCE BOULEVARD, BATON ROUGE, LA 70806

(225) 925-4911     1-800-256-5452


[image: image4.png]


_1081333936.bin

_1081333981.bin

