Delgado Quiznos Kiosk Scope of Work

Expected site conditions:  Delgado personnel will remove or have removed all stainless steel work tables; from side wall in front of counter with the coffee brewers and soda fountain on it, from behind counter and rear wall behind counter.  The rotisserie, freezer in front line and coin operated soda fountain will be removed; the syrup lines will remain for new soda fountain.

Construction: 

Build temporary construction wall to minimize dust from leaving construction site.  Cover all supply and return HVAC vents.

Demo existing wing wall where freezer was located. Repair ceiling grid and provide ceiling tiles as required.   Repair wall. Repair floor tiles.

Cut existing ½ height wall at specified location on drawings, construct extra bracing if required.  Remove all tiles, sneeze guard and tray holder from the front of the remaining ½ height wall. Finish must be ready to accept millwork.  Repair area from the removed ½ height wall to match existing tile.

Install wall coverings per drawings.

Prior to completing project clean ceiling tiles, floors and walls within the construction area.

Mechanical:  Relocate HVAC return in service area.  Install 2nd HVAC register in service area.  Install new type II hood system.  Contract with HVAC company to re-balance HVAC.

Plumbing:  Relocate existing hand sink.  Install new veggie sink and soda fountain; note, all floor drains, hot and cold water exist in required locations.  Syrup lines currently exist for soda dispenser.  Clean out all drain lines.

Electrical:  Note, there are 4 existing power panels directly behind the wall with the toaster. Disassemble track lighting in front of service line.  Install electrical boxes for menu board, toaster, soup caddy, and service line equipment. Note, the outlets for meat slicer, soda dispenser and ice machine are existing and sufficient. 

