Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

June 8, 2007

Ms. Mary Ruth Sharp

Building Official

723 23rd St

Meridian MS, 39301

RE:  
Quiznos Sub Shop #11329

Location: 103 South Frontage Rd, Suite 208

Dear Ms. Sharp,

The following are responses to your letter dated June 1, 2007:

1. A revised plumbing plan is attached showing size of all plumbing required for this project.

2. A revised plumbing plan is attached showing the requirement for tempered water devices that meet ASSE 1070.

Sincerely,

David Dammon

Project Manager

