QUESTIONAIRE FOR QUIZNOS BUILDOUT

Please reply to following information via email at pearlbot@msn.com.

How much A/C is being provided for tenant if any?
None
If A/C is being provided will you be using roof top or split system?
Can we penetrate the roof with vent?
I would prefer any penetrations be made on rear wall.

Will 3 phase 208 Volt electrical service be provided to unit? 

Will conduit from the service to the suite be provided?
Yes

Will an electrical panel be provided for tenant?
No
Are all demising walls to be in place?
No, tenant to construct

If so can we increase to a 6” wall for plumbing?
Yes

Is gas available?
Yes

Is water and sewerage provided by city? If not what is the permit number for the septic and water system?
City to provide

Is there an existing grease trap?  If not where is the best place to put one?
None provided, it needs to be located at rear access

Is there a Dumpster Pad?  Is it shown on the site plan? Yes there are pads and they are shown

Will there be hot and cold water to Dumpster Pad?
Yes

Is there any other particular information about this site that is not covered above that might cause issues with a fast food restaurant?
None

Please provide the following CAD drawings for new center:

Site, Electrical, Plumbing, Floor Plan, Mechanical and Elevations 

If you have any contact names or numbers for city or parish officials we may need to contact in the permitting process please list those also.  If you have any questions feel free to call me at 504-615-8203.

Thanks,

Theresa Pierson

Dammon Engineering

