1990 s.f.

Address :

Electrical:  120/240V 1 Phase 

Existing 150 Amp panel

Existing 200 Amp Panel

HVAC:  12.3 Tons Required  

Fresh air is 615 cfm

Existing 1-ea 3 ton HVAC split system.

Add 2 new 5-ton units 1 phase

Interceptor  above ground  OK

Keep left toilet location but replace toilet

Build a slab 3” thick along entire rear of suites. 5 feet wide.

Stack cooler/freezer condesors or place 7’ above grade

Comments:

