Electrical:  120/208V Three Phase 225 Amps

HVAC:  15 Tons Required  

Fresh air is 705 cfm

No split system on this project, use 2 rooftop units 1-8.5 ton and 1-6.5 ton HVAC  3 phase

In ground Grease Trap

Hot and Cold Water at dumpster pad.

Comments:

Reused existing toilets but have to rebuild walls to make ADA.  

