554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

December 4, 2015

Mr. Ben Galloway

Director, Facilities Services

Slidell Memorial Hospital

1001 Gause Blvd.

Slidell, LA 70458

RE: Women’s Imaging Center Lobby/Vestibule

Dear Mr. Galloway,

Per your request, we have prepared the following estimate of the cost for the referenced project.

Based on the information that we have, we estimate the total construction cost to be approximately $200,000.00+.  The breakdown is as follows:

- $30,000.00 for two sliding doors and side door

- $40,000.00 for new exterior glass

- $35,000.00 new canopy

- $20,000.00 for concrete work

- $10,000.00 for temporary entrance

- $8,000.00 for electrical

- $3,500.00 for A/C

- $5,000 for possible landscaping that the city might require

In addition to the above, there are a few other items that I can't put numbers on right now.  Of course, these numbers are only estimates.  The actual quotes will vary, but altogether we would expect the project to come in at $200,000.00+.  Please be aware that this estimate is for the construction cost only and does not include any design fees.

If you need any additional information, please don't hesitate to call.

Thanks,

Chuck Dammon
VP & Project Manager