December 3, 2009

Mr. John Whitaker
Office of State Fire Marshal

8181 Independence Boulevard

Baton Rouge, LA 70806

Re:
New Office Complex

Child Development Council of Acadiana

 #PO372882

Dear Mr. Whitaker,

Please regard this letter as the response for the “DEADLINE IMPOSED” from your review letter of November 25, 2009, copy attached.

In response to Item #15 we will separate the Meeting Room 112 from the rest of the building with two hour rated fire barriers, please see attached revised Floor Plan.

In addition, I am responding to Item #19 “INSUFFICIENTLY DOCUMENTED.....” with an attached revised Coversheet.

I hope this satisfies the requirements of your review, please contact me if any further information is required.  All other items will also be completed including shop drawings and system reviews.

Sincerely,

Robert Wiltse

Chief Architect

Dammon Engineering, Inc.

Attachments:
Review Letter

Reviewed Coversheet

Revised Coversheet

Reviewed Sheet A-1

Revised Sheet A-1

