Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

May 11, 2010

Mr. Tim Piere’

Jefferson Parish

Inspection & Code Enforcement

1221 Elmwood Park Boulevard, Suite 101

Jefferson, La 70123

RE:  
Paul Mitchell School


3321 Hessmer Ave.


Metairie, La.

Dear Mr. Piere’

There are three electric dryers located on the second floor of this school that require venting to the outside. Slidell Refrigeration has installed three four inch twenty four gauge Joval snap lock pipe in the wall turning a ninety degrees radius across the hallway that tie into a eight-inch x ten-inch twenty four gauge exhaust duct terminating thru the outside wall. Each four-inch duct has a back draft damper installed and two clean outs on the eight-inch x ten-inch duct. Dammon Engineering approves of this method for this use.

Sincerely,

Chuck Dammon

V/P Project Manager

