Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

June 4, 2010

Mr. Tim Piere’

Jefferson Parish

Inspection & Code Enforcement

1221 Elmwood Park Boulevard, Suite 101

Jefferson, La 70123

RE:  
Paul Mitchell School


3321 Hessmer Ave.


Metairie, La.

Dear Mr. Piere’

The elevator room located on the 2nd floor of the building is an existing room that has been updated to fit the needs of the current occupant. All the existing elevator controls have been replaced with new. The hot water system is new also to provide the user with on demand needs. The walls are one hour rated surrounding the elevator room and water heater room with a fresh air supply being served from the elevator equipment room utilizing the existing fresh air vents on the exterior of the wall. Dammon Engineering approves of this method for this use.

Sincerely,

Chuck Dammon

V/P Project Manager

