[image: image1.png]% siplast

A member of the Icopal Group





	To
	Dammon Engineering, Inc.

	e-mail
	dammoneng@bellsouth.net

	Attn
	Robert Wiltse

	From 
	Sean Tufts

	e-mail
	usstu@icopal.com or stufts@siplast.com

	Regarding
	Abney Elementary 

	Number of pages including this one
	0
	Date
	December 20, 2011

	I. Scope of Work for Siplast Spec No.2030IA.
1. All added blocking at all curbs, perimeter edge and fascia to match height of new insulation thickness must be attach according to IBC 2006 requirements, using approved fasteners.

2. Proposed Siplast Roof System Building A.
> Parabase FS, mechanically fastened to existing tectum deck. 

> Rigid Insulation having a thickness of 2-inches, adhered in Olybond adhesive.
> Dens Deck Prime having a thickness of 1/2-inch, adhered in Olybond adhesive.

> Paradiene 20 TG Base Ply, torch applied.
> Paradiene 30FR TG Cap Sheet, torch applied.

> Paradiene 20SA Base Flashing Ply, self adhered.

>Veral Aluminium Flashing, torch applied.

> Prefabricated Paraguard Gravel Stop Proform – Stainless Steel.
> Siplast 20 Year Membrane/Systems Guarantee with Paraguard Perimeter Edge Inclusion Addendum.
3. Proposed Siplast Roof System Building B.

> Parabase FS, mechanically fastened to existing lightweight deck. 

> Rigid Insulation having a thickness of 2-inches, adhered in Olybond adhesive.

> 1/8 inch per foot Paratherm Tapered System, adhered in Olybond adhesive.

> Dens Deck Prime having a thickness of 1/2-inch, adhered in Olybond adhesive.

> Paradiene 20 TG Base Ply, torch applied.

> Paradiene 30FR TG Cap Sheet, torch applied.

> Paradiene 20SA Base Flashing Ply, self adhered.

>Veral Aluminium Flashing, torch applied.

> Prefabricated Paraguard Gravel Stop Proform – Stainless Steel.

> Siplast 20 Year Membrane/Systems Guarantee with Paraguard Perimeter Edge Inclusion Addendum.

Range of Probable Cost Estimate
$15.48/sqft x 12,859 sqft = $199,057.32
*Apply above square footage and linear footage pricing to total square footage and linear footages as estimated by Architect. 

*This above pricing is estimated to represent an installed cost, yet, it does not include cost for unforeseen conditions that may be uncovered during the re-roofing project, i.e., replacement of bad decking, soffit, fascia, perimeter blocking or additional blocking at perimeter and curbs, as required for new roof system installation.

Worked with prior roofing contractor to establish above budget estimate.
If you have any further questions please contact me at 504-400-7472
Thanks,

Sean Tufts



	


	Siplast

1000, E. Rochelle Blvd.

Irving, Texas 75062-3940

USA
	Tel 469 995 2200

Fax 469 995 2205

www.siplast.com


	



