To:
Contractor/SBS Construction

Project:
Planet Storage

RE:
Cable Tensioning

Please be aware that as far as can be determined at this point, the breakage of cable number S15 and S26 will not be detrimental to the project, but since live loads imposed, curing conditions of the concrete, etc., are not and will not be known until they are imposed, it would not be possible to predict the final outcome.

I would allow the concrete to gain close to its maximum strength before loading.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

