March 16, 2001

To:
Ms. Suzanne McCain

RE:
The answer to your question on wall loads.

Exterior Walls:

Loads bearing on foundation

1.
1-story buildings:
.655 KIPS / Lin. Foot

2.
2-story buildings:
1.110 KIPS / Lin. Foot

3.
3-story buildings:
1.820 KIPS / Lin. Foot

Interior Bearing Walls:

Loads bearing on foundation

1.
1-story buildings:
1 KIP / Lin. Foot

2.
2-story buildings:
1.9 KIPS / Lin. Foot

3.
3-story buildings:
3.1 KIPS / Lin. Foot

cc:
Mr. Stephen Hill

