Project #100-82

City of Slidell

Seventh Street Drainage Improvements

Addendum #2
March 13, 2001

To:
All Holders of Project Plans

The Following items have changed and are hereby made part of the contract.

1. 
       1. The bid date will be extended to March 22, 2001.

2.
Materials listed in “Base Bid” shall read
Item No. Quan.  Unit   Description

        2      715      L.F.  Drainpipe, Trenching, etc.

3.
Materials listed in “Alternate #1 & #2” shall read
Item No. Quan.  Unit   Description

        1      185      L.F.  Drainpipe, excavation, etc.

                   4. Attached please find revised “Contract Form”, including contract time, in calendar days.

Sincerely,
Emmett G. (Pete) Dammon, P.E.
Enclosures (4)

EGD/clh

