SECTION 01010

SUMMARY OF WORK

1 PART 1 General 

1.1 SECTION INCLUDES

A. Existing Conditions

B. Owner occupancy

C.      Safety

1.2 EXISTING CONDITIONS

The work is to be accomplished at the existing St. Tammany Parish facility on N. Lane in Abita Springs, LA    

1.3 WORK OF CONTRACT

A. Construct new maintenance barn at the above facility.  Work to supply and install driveways, filling and leveling beyond five-(5) ft from building will be by others.

1.4 OWNER OCCUPANCY

The owner will occupy the premises during the progress of the work.

1.5 SAFETY

The contractor shall make all necessary efforts to assure that the work of the contract is carried out in such a manner as to assure the safety of his workman, the owner’s employees, and others who are in the area.





END OF SECTION

1
1

