

SECTION 16010PRIVATE 






   BASIC ELECTRICAL REQUIREMENTS

1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Basic Electrical Requirements specifically applicable to Division 16 Sections, in addition to Division 1 ‑ General Requirements.


.2
seq level2 \h \r0 

seq level3 \h \r0 
WORK SEQUENCE



A.
Install work during the construction period coordinate electrical schedule and operations with Architect/Engineer



.3 seq level2 \h \r0 
ALTERNATES



A.
Alternates quoted on proposal will be reviewed and accepted or rejected at the Owner's option.  Accepted Alternates will be identified in Owner‑Contractor Agreement.



B.
Coordinate related work and modify surrounding work as required to perform alternates. 


.4

REFERENCES



C.
ANSI/NFPA 70 ‑ National Electrical Code.



B.
Reference to General Conditions.


.5
seq level2 \h \r0 
SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Proposed Products List 



C.seq level3 \h \r0 
Submit shop drawings and product data grouped to include complete submittals of related systems.



D.
Mark dimensions and values in units to match those specified.


.6
seq level2 \h \r0 
REGULATORY REQUIREMENTS



A.
Conform to applicable Building Code for St. Tammany Parish.



B.
Electrical: Conform to NFPA 70.



C.
Obtain permits, and request inspections from authority having jurisdiction.

.7
seq level2 \h \r0 
PROJECT/SITE CONDITIONS



A.
Install Work in locations shown on Drawings.





B.
Prepare drawings showing proposed rearrangement of Work to meet Project conditions, including changes to Work specified in other Sections.  Obtain permission of Owner before proceeding.







END OF SECTION


PAGE  
Section 16010 Page 1 of 1

