59 Maintenance Barn

Addendum #1

Date:
September 5, 2002

To:
All Plan holders of Record:


Mr. Danny Brown/McMath Construction


Mr. Pete Weiland/K.B. Kaufmann & Co.


Mr. Kevin McDonald/McDonald Construction

Mr. Dee Olsen/Elite Electric


Mr. Keven Newsom/Addison Construction

Mr. Bill Cook/Gebhard Contractors


Mr. James Cartier/CM General Construction

Mr. Jay Albert/Jaymar Construction Co.


Ms. Anna Ortolano/Pumilia Contractors


Mr. Chris Pierson/Byron Talbot Construction


Mr. Paul A. Balbero/Braithwaite Construction Co.

Ms. Mary Diehl/DURR Heavy Equipment


Mr. Mark Lodice/Jacobsen Specialty Services

Mr. Chris Pierson/Byron Talbot Construction


Mr. Anthony Savarino/Anthony Savarino Crane and Rigging


Mr. Mack Lambert/Lambert Construction & Maintenance

Ladies and Gentlemen:

The following changes are made to the contract drawings and specifications:

1. Seal the entire service area with an epoxy sealant.

2. The kitchen sink shall be a two-compartment stainless steel sink.

3. The water heater shall be an electrical 40-gal water heater.

4. All floor drains shall have trap primers.

5. All hose bibs shall be freeze proof.

6. The shower shall be a 36”x36” fiberglass installation.

7. All water lines for the maintenance bldg. shall be installed under foundation.

8. Fuel shed lights, HPS light fixtures shall be three 100 watt pendant mount.

9. Pump house lights shall be designated as FL2.

10. The contractor shall install a 2000 GPD chlorinated treatment plant w/effluent reduction system.

11. The exterior of the maintenance bldg. shall be R panel.

12. The stairs shall be of steel construction. Shop primed and two coats of paint in the field.

13. All piping shall be supplied and installed by the contractor.  All equipment shall be installed and connected per manufacturer’s recommendations.

14.  Contract time shall be 120 days.

15. Add two air hose reels in fuel shed and one in maintenance building to the equipment list.

16. Add two hose reels for the 275 gallon fresh oil tanks listed in the equipment list, to the fresh oil tanks on drawings.

Acknowledge receipt of addendum(s) in quote to Parish.

Sincerely,

Chuck Dammon/Project Manager

