April 23, 2003

Keith Pumilia 

Pumilia Contractors, Inc.

1120 Hancock Street

Gretna, La. 70053-2323

Re:
Hwy 59 Barn

Dear Mr. Pumilia,

We have increased the size of the treatment plant from 1,000 gallon chlorinated with effluent reduction system to a 2,000 gallon chlorinated with effluent reduction system.  This one shall be the type that is installed in the ground.  The increase in size will help for future projects on this site.  Also, Slone Construction in Slidell sells this product; they can be reached at 649-3782.

Please submit a pricing for the upgrade in size.  Also, if any additional days will be needed to complete this.

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon

VP/Project Manager

xc:
David Koppenol/St. Tammany Parish

