May 28, 2002

Mr. Tym Granderson, R.S.

State of Louisiana Department of Health and Hospitals

Jefferson Parish Health Unit – Environmental Health Section

111 North Causeway Boulevard

Metairie, Louisiana  70001

RE:
Division Quick Stop/Division Laundromat


3654 – 18th Street


Metairie, Louisiana  70002

VIA FACSIMILE

504-838-5334

Dear Mr. Granderson,

With regard to your letter to Mr. Kata, dated May 10, 2002, copy attached, please be aware that the three-compartment sink has been added to the project drawings.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

cc:
Bruce Roberts


Mr. Kata

