January 4, 2002

Mr. Dan Hogge

City of Slidell

2056 Second Street

Slidell, Louisiana  70458

RE:
Camellia Gardens

Dear Mr. Hogge,

Regarding our conversation this date, this letter is to confirm your approval for use of Allied Fiberglass Boxes in separation of fire rated walls for the above referenced project.

The Fiberglass Boxes will be installed per code with three inch (3”) separation and with insulation between.

Please indicate your approval by signing below and faxing a copy back to us at your earliest convenience.

We appreciate your help with this matter.

Approved:
________________________
Date:__________________




Dan Hogge

Sincerely,

Chuck Dammon  

VP/Project Manager

