December 6, 2001

Bobby Hurley

Brice Building Company, Inc.

3516 Hessmer Avenue

Metairie, LA  70010

RE:
Camellia Gardens/Answer to RFI No. 6

Dear Bobby,

Expansion Joints:

Slab – Slab shall have two expansion joints per breezeway: install ½”x4” expansion joint.

Use smooth dowels at 16” O.C. 12” each way fully lubricated with Vaseline.  See attached Expansion Joint Site Plan.

Brick Veneer – butt brick from breezeway to building - do not attach.  Install silicone connector with Styrofoam backer rod from top to bottom.

The sheet rock walls – sheet rock ceiling and composition roof will not receive expansion joints.

Additional Information:

1) Install an exhaust wall fan in building #1 Mechanical room.  Chuck Sardi with Pontchartrain Mechanical will provide this information.

2) Building#1 First floor, Sheet A-2: The door mark leading into the receptionist/secretary area shall change from 9 to 18.  18 are identified as Solid Core door in hollow metal frame with fire stat controlled holders, 1 Hr rated w/panic hardware and with auto closures.  See attached DWG.

3) Tenant Fire Separation Fire Protection: Typical Roof/Ceiling Assembly One Hour Rating, 2 layers of 5/8” type “X” gypsum Board attached to the bottom chord of roof trusses and roof framing.  System shall comply with gypsum association, Fire Test: FMFC 172, 2-25-72; GA. File No. RC2601.  See Attached cut sheet.

4).  Bldg.#3 Foundation Plan: A grade beam and one cable shall be added to support the load of the roof for the offsets in the hallway.  Please see sheet S-4 for the change.

If you require any further information, please call.

Thank you,

Chuck Dammon

