February 18, 2002

Bobby Hurley

Brice Building Company, Inc.

3516 Hessmer Avenue

Metairie, LA  70010

RE:
Camellia Gardens

Dear Bobby,

Please incorporate the enclosed drawings into the contract drawings.

Drawing C-2 is in response to requests by the City of Slidell.  Within the city right-of-way, the driveway will be a 6-inch thick reinforced concrete slab of 4,000 psi concrete with a 6-inch thick compacted base.  Construction will be in compliance with local, state and federal requirements.  Please refer to the attached updated drawing reflecting these specifications.

Drawing A-2 moved the wall to accommodate for the elevator size and made hallway smaller.

Drawings E-4 and E-5 reflect the nurse and call telephone locations.

If you have any questions or comments, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

