April 1, 2002

Bob Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject:
Camellia Gardens

Job No. 06268

Dear Bob,

In response to your memo dated March 29, 2002, please note the following:

I have been in contact with Rose with the St. Tammany Parish Health Department.  She has indicated to me that we do have to have hot and cold water at the dumpster location.  However, tying it in to the laundry room hot water heater is sufficient.


Wood shall be used on all base trim.

Information regarding your other questions/comments will be provided as soon as possible.

Sincerely,

Chuck Dammon

Vice President & Project Manager

