October 15, 2001

Donna O’Dell

Asst. City Engineer

City of Slidell, Engineering Dept.

2056 Second Street

Slidell, LA  70458

RE: Camellia Gardens

       Slidell File No. 800-10    

Dear Donna,

I received your fax on the above referenced project. All of your comments will be complied with to meet the requirements of the City of Slidell.

Dammon Engineering will ensure that, within the city right-of-way, the driveway will be a 6-inch thick reinforced concrete slab of 4,000 psi concrete with a 6-inch thick compacted base.  Construction will be in compliance with local, state and federal requirements.

The ditch along Possum Hollow Drive side will be enclosed with 15” RCP and there will be at least one catch basin at each property corner.  The 24” CMP, which crosses the road, will be tied in with a catch basin also.

We will further ensure that the ditch on the Daney St. side is deep enough for the pipe from the pond.

Please call me with any questions you may have on this project.

Thank you,

Chuck Dammon

Vice President/Project Manager 

CC: Contractor:

       Will Lemoine/Brice Building Company

        Owner:

        Ron Duhe
