May 8, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject:
Camellia Gardens

Job No. 06268

Re:

Kitchen Hood

Dear Bobby,

I spoke to the local fire Marshal, Neal Ricca, about the exhaust hood installation diagram. He said it all looked good. We will need, at the time of inspection, all the product data on the insulation blanket and the hood itself.

Please call me with any questions you may have.

Chuck Dammon

Vice President & Project Manager

